Review / Revision Record

| REVISION | DESCRIPTION | APPROVED | DATE |
| --- | --- | --- | --- |
| A | Initial Release | R.J. Smith | 03/22/05 |
| B | Job titles have been updated to reflect the new roles. | Lavanya Chennupati | 11/15/2023 |
| C | Updated Format. Changed title. Removed 3.2.1. | David McGrail | 9/3/2025 |

This document is for internal use only and may not be reproduced in any form or by any means, including electronic, without the prior written consent of Standard Meter Lab.

When printed this document becomes uncontrolled.

- PURPOSE

  - This procedure defines the system used for the control of inspection, measuring and test equipment at Standard Meter Lab.

- RESPONSIBILITY

  - The Calibration Laboratory Manager is responsible for this procedure.

- REQUIREMENTS

  - The Quality Procedures SML-202 Test Equipment and Repair & SML-204 Calibration System determine the actual monitoring and measurement performed throughout production at Standard Meter Lab.

  - Flowcharts are maintained in the lab and define the structure and flow down used at Standard Meter Lab for calibration of measuring devices.

- DEFINITIONS

  - Calibration: - The comparison of measurement instrument or system of unverified accuracy with a measurement instrument or system of a known accuracy, to detect any variation from the required performance specifications.

- RECORDS

| RECORD | DESCRIPTION | LOCATION | RETENTION |
| --- | --- | --- | --- |
| Calibration Certificates Equipment / Standards List | Record of Equipment Calibration Records of Equipment Calibrations, Status & Events Due. | Technical Services Office Electronic, Company Server, Calibration Manager Software | Life of Device Life of Device Plus 5 Years Minimum |

- METHOD

  - The establishment of calibration intervals is defined in SML-204 Calibration System, 4.1.5 Intervals of calibration.

  - The flow charts define the hierarchy of equipment under test for determination of NIST traceability.

Note: Flow chart are for reference purposes only; actual traceability is maintained in the records identified above.

- REFERENCES

  - SML-106 Certificate of Calibration

  - SML-165 Master List - Equipment