| REVISION | DESCRIPTION | APPROVED | DATE |
| --- | --- | --- | --- |
| A | Historical Data. | Historical Data. | Historical Data. |
| B | Historical Data | Historical Data. | Historical Data. |
| C | Added cover page. Updated headers and footers. All information updated to current/new locations. | Gabriele Santos | 10/8/2025 |

This document is for internal use only and may not be reproduced in any form or by any means, including electronic, without the prior written consent of Standard Meter Lab.

When printed this document becomes uncontrolled.

| RECORD | DESCRIPTION | LOCATION | RETENTION |
| --- | --- | --- | --- |
| SML-104 Hold Do Not Service Tag | Record of Non-Conforming Equipment | Affixed to Equipment | Until Equipment Disposition |
| SML-105 Equipment Status Form | Record of Non-Conforming Equipment | Affixed to Equipment | N/A |
| SML-106 Calibration Certificates | Record of Control of Monitoring & Measuring Devices | Calibration Database SML Server | Life of Device Plus 5 years minimum |
| SML-107 Calibration Sticker | Record of Equipment Calibration Status | Affixed to Equipment | Equal to Calibration Cycle |
| SML-108 Service Report Form | Record of Temp. & RH at time of Calibration | Copy Accountant Files Calibration Database | 7 years minimum |
| SML-110 Internal Audit Checklist | Checklist for Internal Audits | SML Server QMS | 5 years minimum |
| SML-111 CAR Request Form | Root Cause & Investigation | SML Server QMS CAR Binder | 2 years minimum |
| SML-112 Employee Training Record | Record of Personnel Training Received | QA Office Files SML Server QMS | Length of Employment Plus 5 years minimum |
| SML-113 Employee Orientation Form | Record of General Policies, benefits, etc. | Operations Manager Office, Personnel Files | Indefinitely |
| SML-115 Warranty Action Form | Record of Non-Conformance & Disposition | Accountant Files | 7 years minimum |
| SML-117 PO Requisition Form | Record of Request for Purchase | Accountant Files | 7 years minimum |
| SML-123 Service Request Form | Record of Inspections & Product Preservation | Copy Accountant Files SML Server QMS | 7 years minimum |
| SML-127 CAR Status Log | Record of Corrective Action Status | SML Server QMS CAR Binder | 2 years minimum |
| SML-129 Document Control Change Sheet | Record of Document Changes and Approvals | SML Server QMS | Life of Document |
| SML-130 Request for Quote | Establishing Prices of Product & Services | Accountant Files | 7 years minimum |
| SML-132 Approved Supplier List | List of Approved Vendors | SML Server QMS | Indefinitely |
| SML-133 Vendor Survey Form | Record of Supplier/Vendor Approval | SML Server QMS | Indefinitely |
| SML-134 RMA Log | Record of RMA’s Issued | RMA Binder SML Server QMS | 2 years minimum |
| SML-135 RMA Authorization Form | Record of Customer Returns | RMA Binder SML Server QMS | 2 years minimum |
| SML-138 Employee Training Matrix | Record of Personnel Training Status | QA Office Files SML Server QMS | Length of Employment Plus 5 years minimum |
| SML-142 External Quality Survey / Audit Annual Review & Approval | Record of Supplier Review and Approval | SML Server QMS | Indefinitely |
| SML-143 Management Review Minutes | Record of Management Review and Action Items | SML Server QMS | 5 years minimum |
| SML-146 House-Keeping Checklist | Record of Verification of Conformance to spec. (In-House) | SML Server QMS | 2 years minimum |
| SML-147 House-Keeping Checklist | Record of Verification of Conformance to spec. (External Janitorial Services) | SML Server QMS | 2 years minimum |
| SML-152 Customer Complaint & Resolution Form | Record of Complaint, Root Cause, Remedial Action, and Resolution | Complaints Binder SML Server QMS | 2 years minimum |
| SML-155 Customer Complaint Log | Record of Customer Complaints | Complaints Binder SML Server QMS | 2 years minimum |
| SML-156 Non-Conforming Work Log | Record of Non-Conforming Work Issued and Closed | NCMR Binder SML Server QMS | 2 years minimum |
| SML-157 Non-Conforming Work Record Form | Non-Conforming Work Investigation/Resolution | NCMR Binder SML Server QMS | 2 years minimum |
| SML-158 PAR Status Log | Record of PARs Issued and Status | PAR Binder SML Server QMS | 2 years minimum |
| SML-159 PAR Record Form | Root Cause Investigation & Correction | PAR Binder SML Server QMS | 2 years minimum |

| RECORD | DESCRIPTION | LOCATION | RETENTION |
| --- | --- | --- | --- |
| SML-163 Risk Register Form | Record of Risks & Opportunities Evaluated | SML Server QMS | 2 years minimum |
| SML-165 Equipment/Standards List | Record of Control of Monitoring & Measuring Reference Devices | SML Server QMS | Life of Device 5 years minimum |
| SML-166 Risk Register Log | Log of Risks & Opportunities | SML Server QMS | 2 years minimum |
| SML-168 Due Diligence Check Sheets | Record of Drift Between Calibrations | Technical Services Lab | 2 years minimum |
| SML-169 Calibration Verification Checklist | Record of Calibration Verification | Technical Services Office | 2 years minimum |
| SML-170 Customer Satisfaction Survey | Customer Satisfaction Survey | QA Office Files SML Server QMS | 2 years minimum |
| SML-171 Non-Conformance Report (Audit) | Non-Conformance Report | NCMR Binder SML Server QMS | 2 years minimum |
| SML-173 Document Control Change Log | Record of Document Changes | SML Server QMS | Life of Document |
| SML-174 Internal Audit Log | Record of Internal Audits Completed | SML Server QMS | 5 years minimum |
| SML-175 Internal Audit Report | Report Findings of Internal Audits | SML Server QMS | 5 years minimum |
| Circular Chart | Record of Environmental Conditions | Technical Services Office | 6 years minimum |
| Customer Quotations Sales Orders Invoices | Records of Contract Review, Customer Focus, & Product Realization | Accountant Files | 7 years minimum |